## Summary
Timestep | House_demand_kw | House_generation_kw | House_net_power_before_battery_kw | Battery_power_kw | Battery_soc_kwh | House_net_power_kw | Hospital_load_kw | Wind_generation_kw | Grid_power_kw | VPP_mode | Is_peak_period
0 | 3.9 | 0 | 3.9 | 0 | 15 | 3.9 | 8 | 0 | 11.9 | peak_shaving | FALSE
1 | 3.5 | 0 | 3.5 | 0 | 15 | 3.5 | 8 | 0 | 11.5 | peak_shaving | FALSE
2 | 3.2 | 0 | 3.2 | 0 | 15 | 3.2 | 8 | 0 | 11.2 | peak_shaving | FALSE
3 | 3 | 0 | 3 | 0 | 15 | 3 | 8 | 0 | 11 | peak_shaving | FALSE
4 | 3.5 | 0 | 3.5 | 0 | 15 | 3.5 | 8 | 0 | 11.5 | peak_shaving | FALSE
5 | 4.5 | 0.6 | 3.9 | 0 | 15 | 3.9 | 8 | 0 | 11.9 | peak_shaving | FALSE
6 | 7.8 | 2.4 | 5.4 | 0 | 15 | 5.4 | 8 | 0 | 13.4 | peak_shaving | FALSE
7 | 9.8 | 5.4 | 4.4 | 0 | 15 | 4.4 | 8 | 0 | 12.4 | peak_shaving | FALSE
8 | 6.8 | 9 | -2.2 | -1.8 | 16.71 | -0.4 | 8 | 0 | 7.6 | peak_shaving | FALSE
9 | 5.6 | 12 | -6.4 | -4.3 | 20.8 | -2.1 | 8 | 0 | 5.9 | peak_shaving | FALSE
10 | 5 | 14.4 | -9.4 | -5.49 | 26.02 | -3.91 | 8 | 0 | 4.09 | peak_shaving | FALSE
11 | 4.6 | 15.6 | -11 | -1.93 | 27.85 | -9.07 | 8 | 0 | -1.07 | peak_shaving | FALSE
12 | 5 | 15 | -10 | -1.2 | 28.99 | -8.8 | 8 | 0 | -0.8 | peak_shaving | FALSE
13 | 5.4 | 13.5 | -8.1 | -0.85 | 29.8 | -7.25 | 8 | 0 | 0.75 | peak_shaving | FALSE
14 | 6.1 | 10.8 | -4.7 | -0.2 | 29.99 | -4.5 | 8 | 0 | 3.5 | peak_shaving | FALSE
15 | 7.3 | 7.2 | 0.1 | 0 | 29.99 | 0.1 | 8 | 0 | 8.1 | peak_shaving | FALSE
16 | 10 | 3.6 | 6.4 | 0 | 29.99 | 6.4 | 8 | 0 | 14.4 | peak_shaving | FALSE
17 | 14.3 | 0.9 | 13.4 | 7.85 | 21.72 | 5.55 | 8 | 0 | 13.55 | peak_shaving | TRUE
18 | 15.6 | 0 | 15.6 | 8.9 | 12.36 | 6.7 | 8 | 0 | 14.7 | peak_shaving | TRUE
19 | 12.9 | 0 | 12.9 | 4.14 | 8 | 8.76 | 8 | 0 | 16.76 | peak_shaving | TRUE
20 | 9.7 | 0 | 9.7 | 1.8 | 6.11 | 7.9 | 8 | 0 | 15.9 | peak_shaving | TRUE
21 | 7.3 | 0 | 7.3 | 0 | 6.11 | 7.3 | 8 | 0 | 15.3 | peak_shaving | FALSE
22 | 5.5 | 0 | 5.5 | 0 | 6.11 | 5.5 | 8 | 0 | 13.5 | peak_shaving | FALSE
23 | 4.4 | 0 | 4.4 | 0 | 6.11 | 4.4 | 8 | 0 | 12.4 | peak_shaving | FALSE

## House_1
load_kw | generation_kw | net_power_kw_before_battery | battery_power_kw | battery_soc_kwh | battery_soc_percent | net_power_kw
0.7 | 0 | 0.7 | 0 | 7.5 | 50 | 0.7
0.6 | 0 | 0.6 | 0 | 7.5 | 50 | 0.6
0.6 | 0 | 0.6 | 0 | 7.5 | 50 | 0.6
0.5 | 0 | 0.5 | 0 | 7.5 | 50 | 0.5
0.6 | 0 | 0.6 | 0 | 7.5 | 50 | 0.6
0.8 | 0.2 | 0.6 | 0 | 7.5 | 50 | 0.6
1.4 | 0.8 | 0.6 | 0 | 7.5 | 50 | 0.6
1.8 | 1.8 | 0 | 0 | 7.5 | 50 | 0
1.2 | 3 | -1.8 | -1.8 | 9.21 | 61.4 | 0
1 | 4 | -3 | -3 | 12.06 | 80.4 | 0
0.9 | 4.8 | -3.9 | -3.09 | 15 | 100 | -0.81
0.8 | 5.2 | -4.4 | 0 | 15 | 100 | -4.4
0.9 | 5 | -4.1 | 0 | 15 | 100 | -4.1
1 | 4.5 | -3.5 | 0 | 15 | 100 | -3.5
1.1 | 3.6 | -2.5 | 0 | 15 | 100 | -2.5
1.3 | 2.4 | -1.1 | 0 | 15 | 100 | -1.1
1.8 | 1.2 | 0.6 | 0 | 15 | 100 | 0.6
2.6 | 0.3 | 2.3 | 2.3 | 12.58 | 83.86 | 0
2.9 | 0 | 2.9 | 2.9 | 9.53 | 63.51 | 0
2.4 | 0 | 2.4 | 2.4 | 7 | 46.67 | 0
1.8 | 0 | 1.8 | 1.8 | 5.11 | 34.04 | 0
1.3 | 0 | 1.3 | 0 | 5.11 | 34.04 | 1.3
1 | 0 | 1 | 0 | 5.11 | 34.04 | 1
0.8 | 0 | 0.8 | 0 | 5.11 | 34.04 | 0.8

## House_2
load_kw | generation_kw | net_power_kw_before_battery | battery_power_kw | battery_soc_kwh | battery_soc_percent | net_power_kw
0.9 | 0 | 0.9 | 0 | 2.5 | 50 | 0.9
0.8 | 0 | 0.8 | 0 | 2.5 | 50 | 0.8
0.7 | 0 | 0.7 | 0 | 2.5 | 50 | 0.7
0.7 | 0 | 0.7 | 0 | 2.5 | 50 | 0.7
0.8 | 0 | 0.8 | 0 | 2.5 | 50 | 0.8
1 | 0.1 | 0.9 | 0 | 2.5 | 50 | 0.9
1.8 | 0.4 | 1.4 | 0 | 2.5 | 50 | 1.4
2.2 | 0.9 | 1.3 | 0 | 2.5 | 50 | 1.3
1.5 | 1.5 | 0 | 0 | 2.5 | 50 | 0
1.2 | 2 | -0.8 | -0.8 | 3.26 | 65.2 | 0
1.1 | 2.4 | -1.3 | -1.3 | 4.49 | 89.9 | 0
1 | 2.6 | -1.6 | -0.53 | 5 | 100 | -1.07
1 | 2.5 | -1.5 | 0 | 5 | 100 | -1.5
1.1 | 2.25 | -1.15 | 0 | 5 | 100 | -1.15
1.3 | 1.8 | -0.5 | 0 | 5 | 100 | -0.5
1.6 | 1.2 | 0.4 | 0 | 5 | 100 | 0.4
2.2 | 0.6 | 1.6 | 0 | 5 | 100 | 1.6
3.1 | 0.15 | 2.95 | 2 | 2.89 | 57.89 | 0.95
3.4 | 0 | 3.4 | 2 | 0.79 | 15.79 | 1.4
2.8 | 0 | 2.8 | 0.28 | 0.5 | 10 | 2.52
2.1 | 0 | 2.1 | 0 | 0.5 | 10 | 2.1
1.6 | 0 | 1.6 | 0 | 0.5 | 10 | 1.6
1.2 | 0 | 1.2 | 0 | 0.5 | 10 | 1.2
1 | 0 | 1 | 0 | 0.5 | 10 | 1

## House_3
load_kw | generation_kw | net_power_kw_before_battery | battery_power_kw | battery_soc_kwh | battery_soc_percent | net_power_kw
0.5 | 0 | 0.5 | 0 | 0 | 0 | 0.5
0.5 | 0 | 0.5 | 0 | 0 | 0 | 0.5
0.4 | 0 | 0.4 | 0 | 0 | 0 | 0.4
0.4 | 0 | 0.4 | 0 | 0 | 0 | 0.4
0.5 | 0 | 0.5 | 0 | 0 | 0 | 0.5
0.6 | 0.2 | 0.4 | 0 | 0 | 0 | 0.4
1 | 0.8 | 0.2 | 0 | 0 | 0 | 0.2
1.3 | 1.8 | -0.5 | 0 | 0 | 0 | -0.5
0.9 | 3 | -2.1 | 0 | 0 | 0 | -2.1
0.8 | 4 | -3.2 | 0 | 0 | 0 | -3.2
0.7 | 4.8 | -4.1 | 0 | 0 | 0 | -4.1
0.7 | 5.2 | -4.5 | 0 | 0 | 0 | -4.5
0.8 | 5 | -4.2 | 0 | 0 | 0 | -4.2
0.8 | 4.5 | -3.7 | 0 | 0 | 0 | -3.7
0.9 | 3.6 | -2.7 | 0 | 0 | 0 | -2.7
1 | 2.4 | -1.4 | 0 | 0 | 0 | -1.4
1.4 | 1.2 | 0.2 | 0 | 0 | 0 | 0.2
2 | 0.3 | 1.7 | 0 | 0 | 0 | 1.7
2.2 | 0 | 2.2 | 0 | 0 | 0 | 2.2
1.8 | 0 | 1.8 | 0 | 0 | 0 | 1.8
1.3 | 0 | 1.3 | 0 | 0 | 0 | 1.3
1 | 0 | 1 | 0 | 0 | 0 | 1
0.8 | 0 | 0.8 | 0 | 0 | 0 | 0.8
0.6 | 0 | 0.6 | 0 | 0 | 0 | 0.6

## House_4
load_kw | generation_kw | net_power_kw_before_battery | battery_power_kw | battery_soc_kwh | battery_soc_percent | net_power_kw
1 | 0 | 1 | 0 | 5 | 50 | 1
0.9 | 0 | 0.9 | 0 | 5 | 50 | 0.9
0.8 | 0 | 0.8 | 0 | 5 | 50 | 0.8
0.8 | 0 | 0.8 | 0 | 5 | 50 | 0.8
0.9 | 0 | 0.9 | 0 | 5 | 50 | 0.9
1.2 | 0.1 | 1.1 | 0 | 5 | 50 | 1.1
2 | 0.4 | 1.6 | 0 | 5 | 50 | 1.6
2.5 | 0.9 | 1.6 | 0 | 5 | 50 | 1.6
1.8 | 1.5 | 0.3 | 0 | 5 | 50 | 0.3
1.5 | 2 | -0.5 | -0.5 | 5.48 | 54.75 | 0
1.3 | 2.4 | -1.1 | -1.1 | 6.52 | 65.2 | 0
1.2 | 2.6 | -1.4 | -1.4 | 7.85 | 78.5 | 0
1.3 | 2.5 | -1.2 | -1.2 | 8.99 | 89.9 | 0
1.4 | 2.25 | -0.85 | -0.85 | 9.8 | 97.98 | 0
1.6 | 1.8 | -0.2 | -0.2 | 9.99 | 99.87 | 0
1.9 | 1.2 | 0.7 | 0 | 9.99 | 99.87 | 0.7
2.6 | 0.6 | 2 | 0 | 9.99 | 99.87 | 2
3.7 | 0.15 | 3.55 | 3.55 | 6.25 | 62.51 | 0
4 | 0 | 4 | 4 | 2.04 | 20.4 | 0
3.3 | 0 | 3.3 | 1.46 | 0.5 | 5 | 1.84
2.5 | 0 | 2.5 | 0 | 0.5 | 5 | 2.5
1.9 | 0 | 1.9 | 0 | 0.5 | 5 | 1.9
1.4 | 0 | 1.4 | 0 | 0.5 | 5 | 1.4
1.1 | 0 | 1.1 | 0 | 0.5 | 5 | 1.1

## House_5
load_kw | generation_kw | net_power_kw_before_battery | battery_power_kw | battery_soc_kwh | battery_soc_percent | net_power_kw
0.8 | 0 | 0.8 | 0 | 0 | 0 | 0.8
0.7 | 0 | 0.7 | 0 | 0 | 0 | 0.7
0.7 | 0 | 0.7 | 0 | 0 | 0 | 0.7
0.6 | 0 | 0.6 | 0 | 0 | 0 | 0.6
0.7 | 0 | 0.7 | 0 | 0 | 0 | 0.7
0.9 | 0 | 0.9 | 0 | 0 | 0 | 0.9
1.6 | 0 | 1.6 | 0 | 0 | 0 | 1.6
2 | 0 | 2 | 0 | 0 | 0 | 2
1.4 | 0 | 1.4 | 0 | 0 | 0 | 1.4
1.1 | 0 | 1.1 | 0 | 0 | 0 | 1.1
1 | 0 | 1 | 0 | 0 | 0 | 1
0.9 | 0 | 0.9 | 0 | 0 | 0 | 0.9
1 | 0 | 1 | 0 | 0 | 0 | 1
1.1 | 0 | 1.1 | 0 | 0 | 0 | 1.1
1.2 | 0 | 1.2 | 0 | 0 | 0 | 1.2
1.5 | 0 | 1.5 | 0 | 0 | 0 | 1.5
2 | 0 | 2 | 0 | 0 | 0 | 2
2.9 | 0 | 2.9 | 0 | 0 | 0 | 2.9
3.1 | 0 | 3.1 | 0 | 0 | 0 | 3.1
2.6 | 0 | 2.6 | 0 | 0 | 0 | 2.6
2 | 0 | 2 | 0 | 0 | 0 | 2
1.5 | 0 | 1.5 | 0 | 0 | 0 | 1.5
1.1 | 0 | 1.1 | 0 | 0 | 0 | 1.1
0.9 | 0 | 0.9 | 0 | 0 | 0 | 0.9