## Summary
Timestep | House_demand_kw | House_generation_kw | House_net_power_before_battery_kw | Battery_power_kw | Battery_soc_kwh | House_net_power_kw | Hospital_load_kw | Wind_generation_kw | Grid_power_kw | VPP_mode | Is_peak_period
0 | 3.9 | 0 | 3.9 | 2.6 | 12.26 | 1.3 | 8 | 0 | 9.3 | self_consumption | FALSE
1 | 3.5 | 0 | 3.5 | 2.3 | 9.84 | 1.2 | 8 | 0 | 9.2 | self_consumption | FALSE
2 | 3.2 | 0 | 3.2 | 1.6 | 8.16 | 1.6 | 8 | 0 | 9.6 | self_consumption | FALSE
3 | 3 | 0 | 3 | 1.3 | 6.79 | 1.7 | 8 | 0 | 9.7 | self_consumption | FALSE
4 | 3.5 | 0 | 3.5 | 1.38 | 5.34 | 2.12 | 8 | 0 | 10.12 | self_consumption | FALSE
5 | 4.5 | 0.6 | 3.9 | 0.6 | 4.71 | 3.3 | 8 | 0 | 11.3 | self_consumption | FALSE
6 | 7.8 | 2.4 | 5.4 | 0.6 | 4.08 | 4.8 | 8 | 0 | 12.8 | self_consumption | FALSE
7 | 9.8 | 5.4 | 4.4 | 0 | 4.08 | 4.4 | 8 | 0 | 12.4 | self_consumption | FALSE
8 | 6.8 | 9 | -2.2 | -1.8 | 5.79 | -0.4 | 8 | 0 | 7.6 | self_consumption | FALSE
9 | 5.6 | 12 | -6.4 | -4.3 | 9.87 | -2.1 | 8 | 0 | 5.9 | self_consumption | FALSE
10 | 5 | 14.4 | -9.4 | -6.3 | 15.86 | -3.1 | 8 | 0 | 4.9 | self_consumption | FALSE
11 | 4.6 | 15.6 | -11 | -6.85 | 22.36 | -4.15 | 8 | 0 | 3.85 | self_consumption | FALSE
12 | 5 | 15 | -10 | -2.24 | 24.49 | -7.76 | 8 | 0 | 0.24 | self_consumption | FALSE
13 | 5.4 | 13.5 | -8.1 | -0.85 | 25.3 | -7.25 | 8 | 0 | 0.75 | self_consumption | FALSE
14 | 6.1 | 10.8 | -4.7 | -0.2 | 25.49 | -4.5 | 8 | 0 | 3.5 | self_consumption | FALSE
15 | 7.3 | 7.2 | 0.1 | 1.1 | 24.33 | -1 | 8 | 0 | 7 | self_consumption | FALSE
16 | 10 | 3.6 | 6.4 | 4.2 | 19.91 | 2.2 | 8 | 0 | 10.2 | self_consumption | TRUE
17 | 14.3 | 0.9 | 13.4 | 6.34 | 13.24 | 7.06 | 8 | 0 | 15.06 | self_consumption | TRUE
18 | 15.6 | 0 | 15.6 | 3.18 | 9.89 | 12.42 | 8 | 0 | 20.42 | self_consumption | TRUE
19 | 12.9 | 0 | 12.9 | 2.4 | 7.37 | 10.5 | 8 | 0 | 18.5 | self_consumption | TRUE
20 | 9.7 | 0 | 9.7 | 1.8 | 5.47 | 7.9 | 8 | 0 | 15.9 | self_consumption | TRUE
21 | 7.3 | 0 | 7.3 | 1.3 | 4.11 | 6 | 8 | 0 | 14 | self_consumption | FALSE
22 | 5.5 | 0 | 5.5 | 1 | 3.05 | 4.5 | 8 | 0 | 12.5 | self_consumption | FALSE
23 | 4.4 | 0 | 4.4 | 0.8 | 2.21 | 3.6 | 8 | 0 | 11.6 | self_consumption | FALSE

## House_1
load_kw | generation_kw | net_power_kw_before_battery | battery_power_kw | battery_soc_kwh | battery_soc_percent | net_power_kw
0.7 | 0 | 0.7 | 0.7 | 6.76 | 45.09 | 0
0.6 | 0 | 0.6 | 0.6 | 6.13 | 40.88 | 0
0.6 | 0 | 0.6 | 0.6 | 5.5 | 36.67 | 0
0.5 | 0 | 0.5 | 0.5 | 4.97 | 33.16 | 0
0.6 | 0 | 0.6 | 0.6 | 4.34 | 28.95 | 0
0.8 | 0.2 | 0.6 | 0.6 | 3.71 | 24.74 | 0
1.4 | 0.8 | 0.6 | 0.6 | 3.08 | 20.53 | 0
1.8 | 1.8 | 0 | 0 | 3.08 | 20.53 | 0
1.2 | 3 | -1.8 | -1.8 | 4.79 | 31.93 | 0
1 | 4 | -3 | -3 | 7.64 | 50.93 | 0
0.9 | 4.8 | -3.9 | -3.9 | 11.34 | 75.63 | 0
0.8 | 5.2 | -4.4 | -3.85 | 15 | 100 | -0.55
0.9 | 5 | -4.1 | 0 | 15 | 100 | -4.1
1 | 4.5 | -3.5 | 0 | 15 | 100 | -3.5
1.1 | 3.6 | -2.5 | 0 | 15 | 100 | -2.5
1.3 | 2.4 | -1.1 | 0 | 15 | 100 | -1.1
1.8 | 1.2 | 0.6 | 0.6 | 14.37 | 95.79 | 0
2.6 | 0.3 | 2.3 | 2.3 | 11.95 | 79.65 | 0
2.9 | 0 | 2.9 | 2.9 | 8.89 | 59.3 | 0
2.4 | 0 | 2.4 | 2.4 | 6.37 | 42.46 | 0
1.8 | 0 | 1.8 | 1.8 | 4.47 | 29.82 | 0
1.3 | 0 | 1.3 | 1.3 | 3.11 | 20.7 | 0
1 | 0 | 1 | 1 | 2.05 | 13.68 | 0
0.8 | 0 | 0.8 | 0.8 | 1.21 | 8.07 | 0

## House_2
load_kw | generation_kw | net_power_kw_before_battery | battery_power_kw | battery_soc_kwh | battery_soc_percent | net_power_kw
0.9 | 0 | 0.9 | 0.9 | 1.55 | 31.05 | 0
0.8 | 0 | 0.8 | 0.8 | 0.71 | 14.21 | 0
0.7 | 0 | 0.7 | 0.2 | 0.5 | 10 | 0.5
0.7 | 0 | 0.7 | 0 | 0.5 | 10 | 0.7
0.8 | 0 | 0.8 | 0 | 0.5 | 10 | 0.8
1 | 0.1 | 0.9 | 0 | 0.5 | 10 | 0.9
1.8 | 0.4 | 1.4 | 0 | 0.5 | 10 | 1.4
2.2 | 0.9 | 1.3 | 0 | 0.5 | 10 | 1.3
1.5 | 1.5 | 0 | 0 | 0.5 | 10 | 0
1.2 | 2 | -0.8 | -0.8 | 1.26 | 25.2 | 0
1.1 | 2.4 | -1.3 | -1.3 | 2.5 | 49.9 | 0
1 | 2.6 | -1.6 | -1.6 | 4.02 | 80.3 | 0
1 | 2.5 | -1.5 | -1.04 | 5 | 100 | -0.46
1.1 | 2.25 | -1.15 | 0 | 5 | 100 | -1.15
1.3 | 1.8 | -0.5 | 0 | 5 | 100 | -0.5
1.6 | 1.2 | 0.4 | 0.4 | 4.58 | 91.58 | 0
2.2 | 0.6 | 1.6 | 1.6 | 2.89 | 57.89 | 0
3.1 | 0.15 | 2.95 | 2 | 0.79 | 15.79 | 0.95
3.4 | 0 | 3.4 | 0.27 | 0.5 | 10 | 3.12
2.8 | 0 | 2.8 | 0 | 0.5 | 10 | 2.8
2.1 | 0 | 2.1 | 0 | 0.5 | 10 | 2.1
1.6 | 0 | 1.6 | 0 | 0.5 | 10 | 1.6
1.2 | 0 | 1.2 | 0 | 0.5 | 10 | 1.2
1 | 0 | 1 | 0 | 0.5 | 10 | 1

## House_3
load_kw | generation_kw | net_power_kw_before_battery | battery_power_kw | battery_soc_kwh | battery_soc_percent | net_power_kw
0.5 | 0 | 0.5 | 0 | 0 | 0 | 0.5
0.5 | 0 | 0.5 | 0 | 0 | 0 | 0.5
0.4 | 0 | 0.4 | 0 | 0 | 0 | 0.4
0.4 | 0 | 0.4 | 0 | 0 | 0 | 0.4
0.5 | 0 | 0.5 | 0 | 0 | 0 | 0.5
0.6 | 0.2 | 0.4 | 0 | 0 | 0 | 0.4
1 | 0.8 | 0.2 | 0 | 0 | 0 | 0.2
1.3 | 1.8 | -0.5 | 0 | 0 | 0 | -0.5
0.9 | 3 | -2.1 | 0 | 0 | 0 | -2.1
0.8 | 4 | -3.2 | 0 | 0 | 0 | -3.2
0.7 | 4.8 | -4.1 | 0 | 0 | 0 | -4.1
0.7 | 5.2 | -4.5 | 0 | 0 | 0 | -4.5
0.8 | 5 | -4.2 | 0 | 0 | 0 | -4.2
0.8 | 4.5 | -3.7 | 0 | 0 | 0 | -3.7
0.9 | 3.6 | -2.7 | 0 | 0 | 0 | -2.7
1 | 2.4 | -1.4 | 0 | 0 | 0 | -1.4
1.4 | 1.2 | 0.2 | 0 | 0 | 0 | 0.2
2 | 0.3 | 1.7 | 0 | 0 | 0 | 1.7
2.2 | 0 | 2.2 | 0 | 0 | 0 | 2.2
1.8 | 0 | 1.8 | 0 | 0 | 0 | 1.8
1.3 | 0 | 1.3 | 0 | 0 | 0 | 1.3
1 | 0 | 1 | 0 | 0 | 0 | 1
0.8 | 0 | 0.8 | 0 | 0 | 0 | 0.8
0.6 | 0 | 0.6 | 0 | 0 | 0 | 0.6

## House_4
load_kw | generation_kw | net_power_kw_before_battery | battery_power_kw | battery_soc_kwh | battery_soc_percent | net_power_kw
1 | 0 | 1 | 1 | 3.95 | 39.47 | 0
0.9 | 0 | 0.9 | 0.9 | 3 | 30 | 0
0.8 | 0 | 0.8 | 0.8 | 2.16 | 21.58 | 0
0.8 | 0 | 0.8 | 0.8 | 1.32 | 13.16 | 0
0.9 | 0 | 0.9 | 0.78 | 0.5 | 5 | 0.12
1.2 | 0.1 | 1.1 | 0 | 0.5 | 5 | 1.1
2 | 0.4 | 1.6 | 0 | 0.5 | 5 | 1.6
2.5 | 0.9 | 1.6 | 0 | 0.5 | 5 | 1.6
1.8 | 1.5 | 0.3 | 0 | 0.5 | 5 | 0.3
1.5 | 2 | -0.5 | -0.5 | 0.98 | 9.75 | 0
1.3 | 2.4 | -1.1 | -1.1 | 2.02 | 20.2 | 0
1.2 | 2.6 | -1.4 | -1.4 | 3.35 | 33.5 | 0
1.3 | 2.5 | -1.2 | -1.2 | 4.49 | 44.9 | 0
1.4 | 2.25 | -0.85 | -0.85 | 5.3 | 52.98 | 0
1.6 | 1.8 | -0.2 | -0.2 | 5.49 | 54.88 | 0
1.9 | 1.2 | 0.7 | 0.7 | 4.75 | 47.51 | 0
2.6 | 0.6 | 2 | 2 | 2.65 | 26.45 | 0
3.7 | 0.15 | 3.55 | 2.04 | 0.5 | 5 | 1.51
4 | 0 | 4 | 0 | 0.5 | 5 | 4
3.3 | 0 | 3.3 | 0 | 0.5 | 5 | 3.3
2.5 | 0 | 2.5 | 0 | 0.5 | 5 | 2.5
1.9 | 0 | 1.9 | 0 | 0.5 | 5 | 1.9
1.4 | 0 | 1.4 | 0 | 0.5 | 5 | 1.4
1.1 | 0 | 1.1 | 0 | 0.5 | 5 | 1.1

## House_5
load_kw | generation_kw | net_power_kw_before_battery | battery_power_kw | battery_soc_kwh | battery_soc_percent | net_power_kw
0.8 | 0 | 0.8 | 0 | 0 | 0 | 0.8
0.7 | 0 | 0.7 | 0 | 0 | 0 | 0.7
0.7 | 0 | 0.7 | 0 | 0 | 0 | 0.7
0.6 | 0 | 0.6 | 0 | 0 | 0 | 0.6
0.7 | 0 | 0.7 | 0 | 0 | 0 | 0.7
0.9 | 0 | 0.9 | 0 | 0 | 0 | 0.9
1.6 | 0 | 1.6 | 0 | 0 | 0 | 1.6
2 | 0 | 2 | 0 | 0 | 0 | 2
1.4 | 0 | 1.4 | 0 | 0 | 0 | 1.4
1.1 | 0 | 1.1 | 0 | 0 | 0 | 1.1
1 | 0 | 1 | 0 | 0 | 0 | 1
0.9 | 0 | 0.9 | 0 | 0 | 0 | 0.9
1 | 0 | 1 | 0 | 0 | 0 | 1
1.1 | 0 | 1.1 | 0 | 0 | 0 | 1.1
1.2 | 0 | 1.2 | 0 | 0 | 0 | 1.2
1.5 | 0 | 1.5 | 0 | 0 | 0 | 1.5
2 | 0 | 2 | 0 | 0 | 0 | 2
2.9 | 0 | 2.9 | 0 | 0 | 0 | 2.9
3.1 | 0 | 3.1 | 0 | 0 | 0 | 3.1
2.6 | 0 | 2.6 | 0 | 0 | 0 | 2.6
2 | 0 | 2 | 0 | 0 | 0 | 2
1.5 | 0 | 1.5 | 0 | 0 | 0 | 1.5
1.1 | 0 | 1.1 | 0 | 0 | 0 | 1.1
0.9 | 0 | 0.9 | 0 | 0 | 0 | 0.9